## (1)Cam-2015
Table 6.4(1) Result of Inland Aquatic Environment Monitoring
Duration: | 2015.3.-2015.10.
Country: | Cambodia
Lake/Stream: | Sras Srang Lake
|  | Mandatory Parameters: 4 times/year | [11 empty] | Mandatory Parameters: Once/year |  |  |  | Optional Parameters
Site | Sampling | Temp. | pH | EC | Alkalinity | SO42- | NO3- | Cl- | NH4+ | Na+ | K+ | Ca2+ | Mg2+ | Transparency | PO43- | NO2- | COD | DO
| Date | (oC) |  | (mS/m) | (meq/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (m) | (mg/L) | (mg/L) | (mg/L) | (mg/L)
Sras Srang Lake | 2015-03-01 | 30.05 | 5.8799 | 0.9785 | 0.05 | 0.0845 | 0.275 | 1.252 | 0.123 | 0.778 | 0.3135 | 0.338 | 0.239 | 0.755 | - | - | - | 7.055
| 2015-10-01 | 29.75 | 5.755 | 0.9865 | 0.03 | 0.0945 | 0.159 | 1.079 | 0.0195 | 0.828 | 0.0745 | 0.406 | 0.2 | 0.8 | - | - | - | 7.005
| mean*1 | 29.9 | 5.813 | 0.9825 | 0.04 | 0.0895 | 0.217 | 1.1655 | 0.07125 | 0.803 | 0.194 | 0.372 | 0.2195 | 0.7775 | - | - | - | 7.03
note
- : Items were not analyzed.
*1: Mean of pH takes an average of hydrogen ion.
|  | Anion | Cation | R1 | Judge |  | Λcalc | R2 | Judge
Sras Srang Lake | 2015-03-01 | 91.5114 | 86.5164 | -2.8058 | Օ |  | 1.0681 | 4.3767 | Օ
| 2015-10-01 | 64.9689 | 77.4669 | 8.7745 | × |  | 0.87249 | -6.1328 | Օ

## (2)Chi-2015
Table 6.4(2) Result of Inland Aquatic Environment Monitoring
Duration: | 2015.3.-2015.12.
Country: | China
Lake/Stream: | (See below)
[6 empty] | Mandatory Parameters : 4 times/year | [7 empty] | Mandatory Parameters : Once /year
Site | Sampling | Temp. | pH | EC | Alkalinity | SO42- | NO3- | Cl- | NH4+ | Na+ | K+ | Ca2+ | Mg2+ | Transparency | Water Color | PO43- | NO2- | COD
| Date | (oC) |  | (mS/m) | (meq/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (m) |  | (mg/l) | (mg/l) | (mg/l)
Chongqing | 2015-03-30 | 24 | 6.58 | 12.02 | 0.2778 | 29.21 | 5.47 | 2.29 | 0.95 | 1.99 | 1.83 | 11.48 | 4 | 1.4 | - | - | - | -
-Jinyunshan Lake | 2015-06-29 | 28 | 6.38 | 11.7 | 0.0602 | 30.66 | 14.47 | 2.15 | 0.015 | 2.1 | 2.09 | 11.96 | 3.22 | 0.2 | - | - | - | -
| 2015-09-13 | 22.5 | 6.86 | 10.8 | 0.116 | 28.1 | 11.02 | 2.31 | 0.015 | 2.39 | 2.2 | 11.81 | 3.19 | 0.8 | - | - | - | -
| 2015-11-28 | 16.5 | 6.29 | 10.88 | 0.125 | 29.67 | 9.4 | 2.22 | 0.015 | 2.5 | 1.91 | 11.22 | 3.42 | 1.16 | - | *1 | *1 | <10*1
| mean*2 | 22.75 | 6.4779 | 11.35 | 0.14475 | 29.41 | 10.09 | 2.2425 | 0.24875 | 2.245 | 2.0075 | 11.6175 | 3.4575 | 0.89 | - | *1 | *1 | <10*1
Xiamen | 2015-03-02 | 10.6 | 7.27 | 5.86 | 0.187 | 3.36 | 2.94 | 3.61 | 0.05 | 3.62 | 2.34 | 3.21 | 0.61 | 0.8 | - | - | 0.018 | 1.45
-Xiaoping Dam | 2015-05-04 | 21.3 | 7.26 | 7.27 | 0.182 | 6.05 | 3.89 | 3.91 | 0.07 | 4.56 | 3.03 | 4.067 | 0.72 | 0.5 | - | - | 0.008 | 0.82
| 2015-07-02 | 26.8 | 7.01 | 5.22 | 0.152 | 3.21 | 2.97 | 3.43 | 0.03 | 3.03 | 2.74 | 3.39 | 0.64 | 0.3 | - | - | 0.019 | 1.67
| 2015-11-04 | 23.7 | 6.73 | 5.7 | 0.195 | 3.33 | 2.89 | 2.75 | 0.06 | 3.37 | 2.43 | 3.76 | 0.67 | 1.3 | - | 0.045 | 0.011 | 0.98
| mean*2 | 20.6 | 7.0081 | 6.0125 | 0.179 | 3.9875 | 3.1725 | 3.425 | 0.0525 | 3.645 | 2.635 | 3.6067 | 0.66 | 0.725 | - | 0.045 | 0.014 | 1.23
Xi'an | 2015-03-31 | - | 7.04 | 7.63 | 0.2 | 11.599 | 14.282 | 3.001 | *1 | 3.691 | 1.303 | 6.953 | 1.738 | - | - | - | - | -
-Jiwozi River | 2015-06-29 | - | 7.08 | 7.97 | 0.32 | 11.605 | 4.034 | 1.379 | *1 | 3.642 | 0.973 | 11.285 | 1.354 | - | - | - | - | -
| 2015-09-15 | - | 7.26 | 6.52 | 0.23 | 11.421 | 3.968 | 1.038 | *1 | 4.012 | 0.773 | 9.088 | 0.985 | - | - | - | - | -
| 2015-11-02 | - | 7.03 | 6.96 | 0.3 | 10.661 | 3.503 | 0.782 | *1 | 5.136 | 0.77 | 9.438 | 1.046 | - | - | <0.01*1 | <0.003*1 | 3
| mean*2 | - | 7.0933 | 7.27 | 0.2625 | 11.3215 | 6.4467 | 1.55 | *1 | 4.1202 | 0.95475 | 9.191 | 1.2808 | - | - | <0.01*1 | <0.003*1 | 3
Zhuhai | 2015-03-02 | 18.8 | 6.03 | 7.23 | 0.511 | 3.49 | 2.15 | 3.07 | 0.1 | 8.36 | 1.96 | 4.78 | 1.57 | - | - | - | - | -
-Zhuxiandong | 2015-06-01 | 23.2 | 7.13 | 6.07 | 0.488 | 1.5 | 0.12 | 1.5 | 0.07 | 5.65 | 1.63 | 2.66 | 0.91 | - | - | - | - | -
Stream | 2015-08-03 | 24.9 | 6.89 | 6.24 | 0.483 | 2.44 | 1.6 | 1.02 | 0.76 | 8.3 | 0.48 | 1.34 | 0.26 | - | - | - | - | -
| 2015-12-01 | 16.7 | 6.26 | 7.38 | 0.502 | 2.46 | 1.37 | 4.39 | 0.83 | 7.6 | 3.29 | 2.57 | 1.83 | - | - | - | - | -
| mean*2 | 20.9 | 6.3753 | 6.73 | 0.496 | 2.4725 | 1.31 | 2.495 | 0.44 | 7.4775 | 1.84 | 2.8375 | 1.1425 | - | - | - | - | -
note
- : Items were not analyzed.
*1: Less than determination limit.
*2: Mean of pH takes an average of hydrogen ion.
# When the value is under detection limit, it considers "0". Then the average and R1R2 were calculated by using it.
|  | Anion | Cation | R1 | Judge |  | Λcalc | R2 | Judge
Chongqing | 2015-03-30 | 1038.7712 | 1088.0879 | 2.3188 | Օ |  | 13.578 | 6.0863 | Օ
-Jinyunshan Lake | 2015-06-29 | 992.5493 | 1007.6541 | 0.75516 | Օ |  | 13.3574 | 6.6144 | Օ
| 2015-09-13 | 943.9265 | 1012.8506 | 3.5223 | Օ |  | 12.8322 | 8.5991 | Օ
| 2015-11-28 | 956.9508 | 1000.0666 | 2.2031 | Օ |  | 12.8349 | 8.2432 | Օ
Xiamen | 2015-03-02 | 406.5928 | 430.4757 | 2.8532 | Օ |  | 4.9868 | -8.0499 | Օ
-Xiaoping | 2015-05-04 | 481.1648 | 541.9306 | 5.9394 | Օ |  | 6.2319 | -7.6887 | Օ
| 2015-07-02 | 363.8977 | 425.4271 | 7.7952 | Օ |  | 4.7778 | -4.4225 | Օ
| 2015-11-04 | 390.1715 | 454.9694 | 7.6671 | Օ |  | 4.9969 | -6.5733 | Օ
Xi'an | 2015-03-31 | 756.467 | 683.8478 | -5.0419 | Օ |  | 9.0037 | 8.2586 | Օ
-Jiwozi | 2015-06-29 | 665.5737 | 857.8572 | 12.6217 | × |  | 9.0593 | 6.3969 | Օ
| 2015-09-15 | 561.0592 | 728.8317 | 13.0067 | × |  | 7.7719 | 8.7596 | Օ
| 2015-11-02 | 600.5156 | 800.1657 | 14.2538 | × |  | 8.225 | 8.3306 | Օ
Zhuhai | 2015-03-02 | 704.9356 | 787.8755 | 5.556 | Օ |  | 8.1421 | 5.9334 | Օ
-Zhuxiandong | 2015-06-01 | 563.4788 | 498.9715 | -6.0716 | Օ |  | 5.5195 | -4.7497 | Օ
Stream | 2015-08-03 | 588.3768 | 503.808 | -7.7431 | Օ |  | 5.6867 | -4.6389 | Օ
| 2015-12-01 | 699.1476 | 740.0171 | 2.8398 | Օ |  | 7.9475 | 3.7028 | Օ

## (3)Ind-2015
Table 6.4(3) Result of Inland Aquatic Environment Monitoring
Duration: | 2015.2.-2015.12.
Country: | Indonesia
Lake/Stream: | (See below)
|  | Mandatory Parameters: 4 times/year | [11 empty] | Mandatory Parameters: Once/year
Site | Sampling | Temp. | pH | EC | Alkalinity | SO42- | NO3- | Cl- | NH4+ | Na+ | K+ | Ca2+ | Mg2+ | Transparency | Water Color | PO43- | NO2- | DOC
| Date | (oC) |  | (mS/m) | (meq/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (m) | (PtCo unit) | (mg/L) | (mg/L) | (mg/L)
Patengang Lake | 2015-02-26 | - | 7.7 | 6.8 | 0.134 | 9.4 | 0.09 | 3.8 | 0.03 | 1.8 | 1.4 | 5.1 | 0.5 | - | - | - | - | -
| 2015-05-07 | - | 7.9 | 6.7 | 0.22 | 17.8 | 0.09 | 1 | 0.25 | 2.4 | 1.4 | 4.7 | 3 | - | - | - | - | -
| 2015-07-08 | - | 7.3 | 7.5 | 0.56 | 6.9 | 0.35 | 2 | 0 | 3.5 | 1.5 | 6.9 | 2.9 | - | - | - | - | -
| 2015-09-10 | - | 8.75 | 8.1 | 0.64 | 4.3 | 0.04 | 2 | 0 | 4.1 | 1.4 | 7.4 | 2.6 | - | - | - | - | -
| 2015-12-07 | - | 8.42 | 6.06 | 0.32 | 11.4 | 0.04 | 1.5 | 0.04 | 3.8 | 1.8 | 4.6 | 2.1 | - | - | - | - | -
| mean*1 | - | 7.7533 | 7.032 | 0.3748 | 9.96 | 0.122 | 2.06 | 0.064 | 3.12 | 1.5 | 5.74 | 2.22 | - | - | - | - | -
Gunung Lake | 2015-02-25 | - | 7.15 | 4.58 | 0.134 | 5.9 | 0.06 | 3 | 0.1 | 1.4 | 0.45 | 3.2 | 1.5 | - | - | - | - | -
| 2015-05-06 | - | 7.78 | 6.95 | 0.242 | 15.6 | 0.04 | 3.8 | 0.03 | 1.4 | 0.51 | 6.9 | 3.1 | - | - | - | - | -
| 2015-07-09 | - | 7.3 | 4.45 | 0.344 | 4.2 | 0.09 | 1 | 0 | 1.9 | 0.45 | 5 | 1.5 | - | - | - | - | -
| 2015-09-08 | - | 7.17 | 4.8 | 0.37 | 4 | 0.04 | 1 | 0 | 2.1 | 0.55 | 4 | 2.2 | - | - | - | - | -
| 2015-11-11 | - | 7.54 | 3.77 | 0.28 | 4 | 0.04 | 1 | 0.04 | 1.9 | 0.47 | 3.2 | 1.7 | - | - | - | - | -
| mean*1 | - | 7.3298 | 4.91 | 0.274 | 6.74 | 0.054 | 1.96 | 0.034 | 1.74 | 0.486 | 4.46 | 2 | - | - | - | - | -
note
- : Items were not analyzed.
*1: Mean of pH takes an average of hydrogen ion.
|  | Anion | Cation | R1 | Judge |  | Λcalc | R2 | Judge
Patengang Lake | 2015-02-26 | 438.3556 | 411.3929 | -3.173 | Օ |  | 5.3996 | -11.4789 | ×
| 2015-05-07 | 620.2618 | 635.311 | 1.1986 | Օ |  | 7.7754 | 7.4289 | Օ
| 2015-07-08 | 765.722 | 773.4516 | 0.5022 | Օ |  | 8.4887 | 6.1835 | Օ
| 2015-09-10 | 786.5899 | 797.2231 | 0.67136 | Օ |  | 8.5038 | 2.4321 | Օ
| 2015-12-07 | 600.3098 | 615.7844 | 1.2725 | Օ |  | 7.1263 | 8.0864 | Օ
Gunung Lake | 2015-02-25 | 342.4337 | 361.0549 | 2.647 | Օ |  | 4.2769 | -3.4221 | Օ
| 2015-05-06 | 674.6353 | 674.8647 | 0.016998 | Օ |  | 8.3293 | 9.0273 | ×
| 2015-07-09 | 461.1055 | 467.06 | 0.64153 | Օ |  | 5.1059 | 6.8635 | Օ
| 2015-11-11 | 392.1351 | 396.3945 | 0.54017 | Օ |  | 4.3518 | 7.1639 | Օ

## (4)Iji-2015
Table 6.4(4) Result of Inland Aquatic Environment Monitoring
Duration: | 2015.4.-2016.1.
Country: | Japan
Lake/Stream: | Ijira Lake
|  | Mandatory Parameters : 4times/year | [13 empty] | Mandatory Parameters : Once/year | [5 empty] | Optional Parameters
Site | Sampling | Temp. | pH | EC | Alkalinity | SO42- | NO3- | Cl- | NH4+ | Na+ | K+ | Ca2+ | Mg2+ | Site | Sampling | Transparency | Water Color | Water Color | PO43- | NO2- | DOC | Chl-a
| Date | (degreeC) |  | (mS/m) | (meq/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) |  | Date | (m) | (Forel-Ule Scale) | (sample) | (mg/L) | (mg/L) | (mg/L) | (μg/L)
Center | 2015-04-16 | 13.5 | 7.2845 | 3.85 | 0.156 | 5.08 | 0.715 | 1.94 | <0.01*1 | 1.84 | 0.22 | 2.415 | 1.11 | Center | 2015-04-16 | 1.78 | 15 | clear, colorless | <0.1*1 | <0.01*1 | 0.55 | 2.8
(Surface) | 2015-07-27 | 24.1 | 7.0342 | 3.31 | 0.1385 | 4.085 | 0.955 | 1.88 | <0.01*1 | 1.73 | 0.285 | 1.825 | 0.985 | (Surface) | 2015-07-27 | 2.65 | 14 | clear, colorless | - | <0.01*1 | - | 6.955
| 2015-09-15 | 21.6 | 7.191 | 3.535 | 0.152 | 3.965 | 1.51 | 1.78 | 0.015 | 1.795 | 0.295 | 2.11 | 1.065 |  | 2015-09-15 | 2.29 | 15 | clear, colorless | - | <0.01*1 | - | 1.9183
| 2016-01-06 | - | - | - | - | - | - | - | - | - | - | - | - |  | 2016-01-06 | - | - | - | - | - | - | -
| mean*2 | 19.7333 | 7.1574 | 3.565 | 0.14883 | 4.3767 | 1.06 | 1.8667 | <0.01*1 | 1.7883 | 0.26667 | 2.1167 | 1.0533 |  | mean | 2.24 | - | - | <0.1*1 | <0.01*1 | 0.55 | 3.8911
Center | 2015-04-16 | 10.1 | 6.7448 | 3.935 | 0.155 | 5.25 | 0.745 | 2.015 | 0.03 | 1.855 | 0.22 | 2.465 | 1.13 | Center | 2015-04-16 | - | - | clear, colorless | <0.1*1 | <0.01*1 | 0.5 | 7.05
(near bottom) | 2015-07-27 | 17 | 6.7079 | 4.64 | 0.291 | 3.115 | 0.58 | 1.865 | 0.315 | 1.745 | 0.365 | 2.985 | 1.79 | (near bottom) | 2015-07-27 | - | - | clear, colorless | - | 0.06 | - | 1.5468
| 2015-09-15 | 18.8 | 6.7382 | 3.855 | 0.1785 | 3.96 | 1.565 | 1.78 | 0.08 | 1.78 | 0.305 | 2.44 | 1.265 |  | 2015-09-15 | - | - | clear, colorless | - | <0.01*1 | - | 3.0441
| 2016-01-06 | - | - | - | - | - | - | - | - | - | - | - | - |  | 2016-01-06 | - | - | - | - | - | - | -
| mean*2 | 15.3 | 6.73 | 4.1433 | 0.20817 | 4.1083 | 0.96333 | 1.8867 | 0.14167 | 1.7933 | 0.29667 | 2.63 | 1.395 |  | mean | - | - | - | <0.1*1 | 0.02 | 0.5 | 3.8803
Kamagatani River | 2015-04-16 | 12.1 | 7.133 | 3.98 | 0.139 | 5.795 | 1.5 | 1.875 | <0.01*1 | 1.83 | 0.245 | 2.405 | 1.225 | Kamagatani River | 2015-04-16 | - | - | clear, colorless | <0.1*1 | <0.01*1 | 0.35 | -
(Input) | 2015-07-27 | 20 | 7.0927 | 3.555 | 0.134 | 4.715 | 1.355 | 1.92 | <0.01*1 | 1.78 | 0.265 | 1.97 | 1.08 | (Input) | 2015-07-27 | - | - | clear, colorless | - | <0.01*1 | - | -
| 2015-09-15 | 18.3 | 7.1274 | 3.64 | 0.1365 | 4.83 | 1.44 | 1.89 | <0.01*1 | 1.815 | 0.26 | 2.07 | 1.1 |  | 2015-09-15 | - | - | clear, colorless | - | <0.01*1 | - | -
| 2016-01-06 | 8.3 | 7.1916 | 3.995 | 0.1312 | 6.639 | 1.1498 | 1.8988 | <0.01*1 | 1.927 | 0.2205 | 2.456 | 1.2963 |  | 2016-01-06 | - | - | clear, colorless | - | <0.01*1 | - | -
| mean*2 | 14.675 | 7.1347 | 3.7925 | 0.13518 | 5.4947 | 1.3612 | 1.896 | <0.01*1 | 1.838 | 0.24762 | 2.2252 | 1.1753 |  | mean | - | - | - | <0.1*1 | <0.01*1 | 0.35 | -
Kobora River | 2015-04-16 | 12.3 | 7.0482 | 3.46 | 0.1355 | 4.405 | 0.79 | 1.985 | <0.01*1 | 2.02 | 0.24 | 1.7 | 1.1 | Kobora River | 2015-04-16 | - | - | clear, colorless | <0.1*1 | <0.01*1 | 0.6 | -
(Input) | 2015-07-27 | 21.1 | 6.998 | 3.195 | 0.118 | 3.925 | 1.05 | 2.06 | <0.01*1 | 2.045 | 0.305 | 1.35 | 0.985 | (Input) | 2015-07-27 | - | - | clear, colorless | - | <0.01*1 | - | -
| 2015-09-15 | 19 | 7.02 | 3.25 | 0.1175 | 3.95 | 1.23 | 2.03 | <0.01*1 | 2.07 | 0.275 | 1.465 | 1.025 |  | 2015-09-15 | - | - | clear, colorless | - | <0.01*1 | - | -
| 2016-01-06 | - | - | - | - | - | - | - | - | - | - | - | - |  | 2016-01-06 | - | - | - | - | - | - | -
| mean*2 | 17.4667 | 7.0216 | 3.3017 | 0.12367 | 4.0933 | 1.0233 | 2.025 | <0.01*1 | 2.045 | 0.27333 | 1.505 | 1.0367 |  | mean | - | - | - | <0.1*1 | <0.01*1 | 0.6 | -
Ijira River | 2015-04-16 | 13.1 | 7.1364 | 3.885 | 0.1575 | 5.125 | 0.76 | 1.96 | <0.01*1 | 1.865 | 0.23 | 2.51 | 1.12 | Ijira River | 2015-04-16 | - | - | clear, colorless | <0.1*1 | <0.01*1 | 0.6 | -
(Output) | 2015-07-27 | 24 | 7.134 | 3.4 | 0.142 | 4.15 | 1.02 | 1.875 | <0.01*1 | 1.735 | 0.285 | 2.01 | 1.005 | (Output) | 2015-07-27 | - | - | clear, colorless | - | <0.01*1 | - | -
| 2015-09-15 | 21.5 | 7.3158 | 3.56 | 0.1525 | 3.98 | 1.51 | 1.76 | <0.01*1 | 1.795 | 0.29 | 2.235 | 1.07 |  | 2015-09-15 | - | - | clear, colorless | - | <0.01*1 | - | -
| 2016-01-06 | - | - | - | - | - | - | - | - | - | - | - | - |  | 2016-01-06 | - | - | - | - | - | - | -
| mean*2 | 19.5333 | 7.1875 | 3.615 | 0.15067 | 4.4183 | 1.0967 | 1.865 | <0.01*1 | 1.7983 | 0.26833 | 2.2517 | 1.065 |  | mean | - | - | - | <0.1*1 | <0.01*1 | 0.6 | -
Discharge | 2015-04-16 | 10.5 | 7.0011 | 3.87 | 0.155 | 5.165 | 0.735 | 2.015 | <0.01*1 | 1.86 | 0.225 | 2.375 | 1.11 | Discharge | 2015-04-16 | - | - | clear, colorless | <0.1*1 | <0.01*1 | 0.5 | -
| 2015-07-27 | - | - | - | - | - | - | - | - | - | - | - | - |  | 2015-07-27 | - | - | - | - | - | - | -
| 2015-09-15 | 18.9 | 6.7749 | 3.68 | 0.152 | 4.07 | 1.755 | 1.77 | <0.01*1 | 1.785 | 0.29 | 2.345 | 1.155 |  | 2015-09-15 | - | - | clear, colorless | - | <0.01*1 | - | -
| 2016-01-06 | - | - | - | - | - | - | - | - | - | - | - | - |  | 2016-01-06 | - | - | - | - | - | - | -
| mean*2 | 14.7 | 6.8734 | 3.775 | 0.1535 | 4.6175 | 1.245 | 1.8925 | <0.01*1 | 1.8225 | 0.2575 | 2.36 | 1.1325 |  | mean | - | - | - | <0.1*1 | <0.01*1 | 0.5 | -
note
- : Items were not analyzed.
*1: Less than detection limit.
*2: Mean of pH takes an average of hydrogen ion.
# When the value is under detection limit, it considers "0". Then the average and R1R2 were calculated by using it.
# Annual precipitation is 2266.5 mm/year in 2015 (Gifu pref. Meteorological observatory).
# Data missing of discharge in July was caused by water stagnation.
# Data missing in January was caused by dam reinforcement work.
Table 6.4(4) Result of Inland Aquatic Environment Monitoring - continued
|  | Anion | Cation | R1 | Judge |  | Λcalc | R2 | Judge
Center | 2015-04-16 | 328.0226 | 297.5052 | -4.8787 | Օ |  | 3.6917 | -2.0995 | Օ
(Surface) | 2015-07-27 | 291.9842 | 254.7027 | -6.8195 | Օ |  | 3.2216 | -1.353 | Օ
| 2015-09-15 | 309.115 | 279.3897 | -5.051 | Օ |  | 3.4455 | -1.2825 | Օ
| 2016-01-06 | - | - | - | - |  | - | - | -
Center | 2015-04-16 | 333.1615 | 304.0884 | -4.5623 | Օ |  | 3.7788 | -2.0252 | Օ
(near bottom) | 2015-07-27 | 419.122 | 399.0508 | -2.4532 | Օ |  | 4.5508 | -0.97001 | Օ
| 2015-09-15 | 336.3979 | 315.6289 | -3.1853 | Օ |  | 3.7843 | -0.92579 | Օ
| 2016-01-06 | - | - | - | - |  | - | - | -
Kamagatani River | 2015-04-16 | 336.7348 | 306.6896 | -4.6696 | Օ |  | 3.8623 | -1.5005 | Օ
(Input) | 2015-07-27 | 308.1799 | 271.4024 | -6.3455 | Օ |  | 3.4529 | -1.4568 | Օ
| 2015-09-15 | 313.5987 | 279.4255 | -5.7625 | Օ |  | 3.5316 | -1.5114 | Օ
| 2016-01-06 | 341.5347 | 318.684 | -3.4611 | Օ |  | 3.9957 | 0.0081664 | Օ
Kobora River | 2015-04-16 | 295.9478 | 269.3827 | -4.699 | Օ |  | 3.3329 | -1.8711 | Օ
(Input) | 2015-07-27 | 274.7625 | 245.2212 | -5.6812 | Օ |  | 3.0844 | -1.7614 | Օ
| 2015-09-15 | 276.8395 | 254.5645 | -4.1917 | Օ |  | 3.1521 | -1.5289 | Օ
| 2016-01-06 | - | - | - | - |  | - | - | -
Ijira River | 2015-04-16 | 331.7494 | 304.4324 | -4.2939 | Օ |  | 3.7561 | -1.6867 | Օ
(Output) | 2015-07-27 | 297.7447 | 265.7775 | -5.6727 | Օ |  | 3.3188 | -1.2079 | Օ
| 2015-09-15 | 309.3632 | 285.063 | -4.088 | Օ |  | 3.4778 | -1.1684 | Օ
| 2016-01-06 | - | - | - | - |  | - | - | -
Discharge | 2015-04-16 | 331.2305 | 296.5548 | -5.5235 | Օ |  | 3.7148 | -2.0455 | Օ
| 2015-07-27 | - | - | - | - |  | - | - | -
| 2015-09-15 | 314.9701 | 297.2268 | -2.8983 | Օ |  | 3.593 | -1.1959 | Օ
| 2016-01-06 | - | - | - | - |  | - | - | -

## (5)Ban-2015
Table 6.4(5) Result of Inland Aquatic Environment Monitoring | [13 empty] | Table 6.4(5) Result of Inland Aquatic Environment Monitoring - continued
Duration: | 2015.5.-2016.1.
Country: | Japan
Lake/Stream: | Banryu Lake
|  | Mandatory Parameters : 4 times/year | [13 empty] | Mandatory Parameters : Once/year | [5 empty] | Optional Parameters
Site | Sampling | Temp. | pH | EC | Alkalinity | SO42- | NO3- | Cl- | NH4+ | Na+ | K+ | Ca2+ | Mg2+ | Site | Sampling | Transparency | Water Color | PO43- | NO2- | DOC | COD | D-Al | Chl-a
| Date | (oC) |  | (mS/m) | (meq/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) |  | Date | (m) | (Forel-Ule Scale) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (μg/L)
NO.2 (center) | 2015-05-26 | 23.4 | 6.7843 | 10.22 | 0.1285 | 5.325 | <0.08*1 | 24.25 | <0.05*1 | 13.47 | 1.645 | 1.64 | 1.72 | NO.2 (center) | 2015-05-26 | 3.2 | 15 | <0.003*1 | <0.01*1 | 2.2 | - | - | 3.7
surface | 2015-07-22 | 28.1 | 7.093 | 9.78 | 0.14 | 4.475 | <0.08*1 | 23.6 | <0.05*1 | 14.03 | 1.845 | 1.84 | 1.795 | surface | 2015-07-22 | 3.2 | 14 | - | - | - | - | - | 4.25
| 2015-10-21 | 19.2 | 6.97 | 10.645 | 0.207 | 4.14 | <0.08*1 | 23.535 | <0.05*1 | 14.35 | 1.88 | 1.745 | 2.07 |  | 2015-10-21 | 5.1 | 14 | - | - | - | - | - | 3.45
| 2016-01-06 | 9 | 6.8493 | 10.57 | 0.175 | 4.535 | 0.26 | 24.53 | 0.095 | 15.15 | 1.75 | 1.78 | 2.015 |  | 2016-01-06 | 2.3 | 15 | - | - | - | - | - | 9.25
| mean*2 | 19.925 | 6.9086 | 10.3038 | 0.16263 | 4.6188 | <0.08*1 | 23.9788 | <0.05*1 | 14.25 | 1.78 | 1.7512 | 1.9 |  | mean | 3.45 | - | <0.003*1 | <0.01*1 | 2.2 | - | - | 5.1625
NO.2 (center) | 2015-05-26 | 10.2 | 6.4249 | 11.51 | 0.215 | 5.94 | 0.205 | 24.815 | 0.19 | 13.985 | 1.78 | 2.305 | 2.2 | NO.2 (center) | 2015-05-26 | - | - | <0.003*1 | <0.01*1 | 2 | - | - | 3.8
near bottom | 2015-07-22 | 11.5 | 6.3949 | 12.735 | 0.485 | 2.795 | <0.08*1 | 23.92 | <0.05*1 | 14.85 | 1.895 | 4.13 | 3.49 | near bottom | 2015-07-22 | - | - | - | - | - | - | - | 52.9
| 2015-10-21 | 17.7 | 6.4676 | 12.75 | 0.435 | 3.1 | <0.08*1 | 23.935 | 0.25 | 15.035 | 2.085 | 3.535 | 3.035 |  | 2015-10-21 | - | - | - | - | - | - | - | 38.8
| 2016-01-06 | 8.6 | 6.8164 | 10.58 | 0.178 | 4.545 | 0.25 | 24.515 | 0.11 | 15.38 | 1.795 | 1.81 | 2.035 |  | 2016-01-06 | - | - | - | - | - | - | - | 8.4
| mean*2 | 12 | 6.4976 | 11.8937 | 0.32825 | 4.095 | 0.11375 | 24.2963 | 0.1375 | 14.8125 | 1.8887 | 2.945 | 2.69 |  | mean | - | - | <0.003*1 | <0.01*1 | 2 | - | - | 25.975
NO.3 | 2015-05-26 | - | - | - | - | - | - | - | - | - | - | - | - | NO.3 | 2015-05-26 | - | - | - | - | - | - | - | -
surface | 2015-07-22 | - | - | - | - | - | - | - | - | - | - | - | - | surface | 2015-07-22 | - | - | - | - | - | - | - | -
| 2015-10-21 | - | - | - | - | - | - | - | - | - | - | - | - |  | 2015-10-21 | - | - | - | - | - | - | - | -
| 2016-01-06 | - | - | - | - | - | - | - | - | - | - | - | - |  | 2016-01-06 | - | - | - | - | - | - | - | -
| mean*2 | - | - | - | - | - | - | - | - | - | - | - | - |  | mean | - | - | - | - | - | - | - | -
note
- : Items were not analyzed.
*1: Less than determination limit.
*2: Mean of pH takes an average of hydrogen ion.
# When the value is under detection limit, it considers "0". Then the average and R1R2 were calculated by using it.
# Annual precipitation is 1463.0 mm/year in 2015 (Lake Banryu national acid rain monitoring station).
# Monitring of site No.3 was finished in JFY2015.
Table 6.4(5) Result of Inland Aquatic Environment Monitoring - continued
|  | Anion | Cation | R1 | Judge |  | Λcalc | R2 | Judge
NO.2 (center) | 2015-05-26 | 923.4303 | 851.4266 | -4.0569 | Օ |  | 11.1718 | 4.4495 | Օ
surface | 2015-07-22 | 898.8973 | 896.9643 | -0.10764 | Օ |  | 11.1908 | 6.7274 | Օ
| 2015-10-21 | 957.0889 | 929.6795 | -1.4527 | Օ |  | 11.5886 | 4.2439 | Օ
| 2016-01-06 | 965.5735 | 963.6763 | -0.098339 | Օ |  | 11.9322 | 6.0538 | Օ
NO.2 (center) | 2015-05-26 | 1041.9786 | 960.6813 | -4.0595 | Օ |  | 12.4357 | 3.8658 | Օ
near bottom | 2015-07-22 | 1217.946 | 1187.8957 | -1.2491 | Օ |  | 14.1407 | 5.2305 | Օ
| 2015-10-21 | 1174.7193 | 1147.4896 | -1.1726 | Օ |  | 13.771 | 3.8498 | Օ
| 2016-01-06 | 968.1973 | 978.816 | 0.54538 | Օ |  | 12.0257 | 6.3952 | Օ
NO.3 | 2015-05-26 | - | - | - | - |  | - | - | -
surface | 2015-07-22 | - | - | - | - |  | - | - | -
| 2015-10-21 | - | - | - | - |  | - | - | -
| 2016-01-06 | - | - | - | - |  | - | - | -

## (6)Lao-2015
Table 6.4(6) Result of Inland Aquatic Environment Monitoring
Duration: | 2015.3.-2015.12.
Country: | Lao PDR
Lake/Stream: | Nam Hum Lake
|  | Mandatory Parameters: 4 times/year | [11 empty] | Mandatory Parameters: Once/year |  |  |  |  | Optional Parameters
Site | Sampling | Temp. | pH | EC | Alkalinity | SO42- | NO3- | Cl- | NH4+ | Na+ | K+ | Ca2+ | Mg2+ | Transparency | Water Color | PO43- | NO2- | COD | DO
| Date | (oC) |  | (mS/m) | (meq/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (m) | (PtCo unit) | (mg/L) | (mg/L) | (mg/L) | (mg/L)
Nam Hum Lake | 2015-03-31 | 28.2 | 7.24 | 3.6 | 0.44 | 2.3 | 0.01 | 0.96 | 0.01 | 1.4 | 0.43 | 0.77 | 3.1 | 0.5 | - | 0.01 | - | 19 | 6.8
| 2015-06-30 | 29.7 | 7.18 | 3.4 | 0.45 | 4.34 | 0.02 | 0.48 | 0.02 | 1.6 | 0.78 | 1.65 | 3.18 | 0.5 | - | 0.01 | - | 25.85 | 6.42
| 2015-09-30 | 30 | 6.76 | 3.58 | 0.44 | 3.22 | 0.01 | 0.25 | 0.01 | 0.01 | 0.16 | 1.04 | 1.22 | 0.5 | - | 0.01 | - | 26 | 6.15
| 2015-12-29 | 25.7 | 7.13 | 4.12 | 0.48 | 2.23 | 0.06 | 1.4 | 0.009 | 0.19 | 0.35 | 1.9 | 1.6 | 1 | - | 0.01 | - | 20 | 6.63
| mean*1 | - | 7.0321 | 3.675 | 0.4525 | 3.0225 | 0.025 | 0.7725 | 0.01225 | 0.8 | 0.43 | 1.34 | 2.275 | 0.625 | - | 0.01 | - | 22.7125 | 6.5
note
- : Items were not analyzed.
*1 : Mean of pH takes an average of hydrogen ion.
|  | Anion | Cation | R1 | Judge |  | Λcalc | R2 | Judge
Nam Hum Lake | 2015-03-17 | 515.4443 | 365.8627 | -16.9727 | × |  | 4.5316 | 11.4568 | ×
| 2015-06-16 | 554.5388 | 434.5675 | -12.1293 | × |  | 5.2252 | 21.1609 | ×
| 2015-09-17 | 514.5707 | 157.4803 | -53.1344 | × |  | 3.439 | -2.0092 | Օ
| 2015-12-08 | 567.205 | 244.1782 | -39.8119 | × |  | 4.1996 | 0.95674 | Օ

## (7)Mal-2015
Table 6.4(7) Result of Inland Aquatic Environment Monitoring
Duration: | 2015.3.-2015.12.
Country: | Malaysia
Lake/Stream: | (See below)
|  | Mandatory Parameters: 4 times/year | [11 empty] | Mandatory Parameters: Once/year
Site | Sampling | Temp. | pH | EC | Alkalinity | SO42- | NO3- | Cl- | NH4+ | Na+ | K+ | Ca2+ | Mg2+ | PO43- | COD
| Date | (oC) |  | (mS/m) | (meq/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L)
Semenyih Dam | 2015-04-16 | - | 6.9164 | 3.3033 | 0.25233 | 1.3783 | 0.28967 | 1.5447 | 0.068333 | 3.4987 | 1.804 | 2.6 | 0.65833 | <0.10*1 | 6.478
| 2015-11-24 | - | 7.0858 | 3.1 | 0.23433 | 1.2597 | <0.05*1 | 1.6703 | <0.003*1 | 3.8977 | 1.396 | 1.8233 | 0.61733 | <0.10*1 | 8.7667
| mean*2 | - | 6.9928 | 3.2017 | 0.24333 | 1.319 | 0.14483 | 1.6075 | 0.034167 | 3.6982 | 1.6 | 2.2117 | 0.63783 | <0.10*1 | 7.6224
Tembaling | 2015-03-17 | 25.3 | 8.1075 | 29.25 | 2.792 | 13.1417 | 0.5925 | 1.7163 | 0.11325 | 8.843 | 0.61125 | 32.0067 | 15.8803 | <0.10*1 | 5.95
River | 2015-06-16 | 23.3 | 8.0733 | 20.8 | 2.0375 | 9.8483 | 0.42075 | 2.1837 | <0.003*1 | 9.6555 | 0.642 | 21.7385 | 11.0615 | <0.10*1 | 7.3
| 2015-09-17 | 24.2 | 8.0104 | 21.4157 | 2.0072 | 11.0845 | 0.3995 | 2.7712 | 0.00625 | 9.9802 | 0.709 | 20.6175 | 11.073 | <0.10*1 | 6.1
| 2015-12-08 | 26.7 | 7.9266 | 22.025 | 2.005 | 11.2357 | 0.753 | 2.639 | 0.015 | 9.0058 | 0.60175 | 21.7423 | 10.2215 | <0.10*1 | -
| mean*2 | 24.875 | 8.0239 | 23.3727 | 2.2104 | 11.3276 | 0.54144 | 2.3276 | 0.033625 | 9.3711 | 0.641 | 24.0263 | 12.0591 | <0.10*1 | 4.8375
note
- : Items were not analyzed.
*1: Less than determination limit.
*2: Mean of pH takes an average of hydrogen ion.
# When the value is under detection limit, it considers "0". Then the average and R1R2 were calculated by using it.
# Data missing of Tembaling River in December was caused by technical problem on instrument.
|  | Anion | Cation | R1 | Judge |  | Λcalc | R2 | Judge
Semenyih Dam | 2015-04-16 | 329.2751 | 386.1091 | 7.9445 | Օ |  | 3.9164 | 8.4911 | Օ
| 2015-11-24 | 307.678 | 347.0751 | 6.0171 | Օ |  | 3.5415 | 6.647 | Օ
Tembaling | 2015-03-17 | 3123.5836 | 3309.6488 | 2.8923 | Օ |  | 33.651 | 6.9967 | Օ
River | 2015-06-16 | 2310.9298 | 2430.8332 | 2.5287 | Օ |  | 24.7862 | 8.7443 | Օ
| 2015-09-17 | 2322.6488 | 2392.0278 | 1.4716 | Օ |  | 24.738 | 7.1982 | Օ
| 2015-12-08 | 2325.518 | 2333.4845 | 0.17099 | Օ |  | 24.499 | 5.3176 | Օ

## (8)Mon-2015
Table 6.4(8) Result of Inland Aquatic Environment Monitoring
Duration: | 2015.5.-2015.10.
Country: | Mongolia
Lake/Stream: | Terelj River
|  | Mandatory Parameters: 4 times/year | [11 empty] | Mandatory Parameters : Once/year
Site | Sampling | Temp. | pH | EC | Alkalinity | SO42- | NO3- | Cl- | NH4+ | Na+ | K+ | Ca2+ | Mg2+ | PO43- | NO2-
| Date | (oC) |  | (mS/m) | (meq/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L)
Terelj River | 2015-05-20 | - | 7.07 | 6.11 | 0.398 | 6.12 | 0.92 | 0.44 | - | - | - | - | - | - | -
| 2015-06-10 | - | 7.22 | 5.18 | 0.316 | 5.26 | 0.9 | 0.4 | - | - | - | - | - | - | -
| 2015-07-01 | - | 7.23 | 5.5 | 0.326 | 4.12 | 1.04 | 0.61 | - | - | - | - | - | - | -
| 2015-08-05 | - | 7.19 | 4.61 | 0.296 | 3.71 | 0.84 | 0.23 | - | - | - | - | - | - | -
| 2015-09-09 | - | 7.4 | 5.02 | 0.357 | 3.38 | 0.43 | 0.25 | - | - | - | - | - | - | -
| 2015-10-14 | - | 7.33 | 5.79 | 0.408 | 3.96 | 0.81 | 0.32 | - | - | - | - | - | - | -
| mean*1 | - | 7.2274 | 5.3683 | 0.35017 | 4.425 | 0.82333 | 0.375 | - | - | - | - | - | - | -
note
- : Items were not analyzed.
*1: Mean of pH takes an average of hydrogen ion.
# Data missing of cation was caused by technical problem on instrument.
|  | Anion | Cation | R1 | Judge |  | Λcalc | R2 | Judge
Terelj River | 2015-05-20 | 552.6685 | - | - | - |  | - | - | -
| 2015-06-10 | 451.3122 | - | - | - |  | - | - | -
| 2015-07-01 | 445.7585 | - | - | - |  | - | - | -
| 2015-08-05 | 393.2776 | - | - | - |  | - | - | -
| 2015-09-09 | 441.3592 | - | - | - |  | - | - | -
| 2015-10-14 | 512.5377 | - | - | - |  | - | - | -

## (9)Phi-2015
Table 6.4(9) Result of Inland Aquatic Environment Monitoring
Duration: | 2015.2.-2015.11.
Country: | Philippines
Lake/Stream: | (See below)
|  | Mandatory Parameters: 4 times/year | [11 empty] | Mandatory Parameters: Once/year |  |  | Optional Parameters
Site | Sampling | Temp. | pH | EC | Alkalinity | SO42- | NO3- | Cl- | NH4+ | Na+ | K+ | Ca2+ | Mg2+ | Transparency | PO43- | NO2- | DO
| Date | (oC) |  | (mS/m) | (meq/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (m) | (mg/L) | (mg/L) | (mg/L)
Pandin Lake | 2015-02-25 | 27 | 7.58 | 20.9 | 2.5172 | 0.324 | 1.738 | 2.899 | 0.29 | 10.034 | 6.322 | 18.58 | 8.239 | - | 0.449 | *1 | -
| 2015-05-13 | 30.6 | 7.87 | 19.05 | 2.4236 | 1.19 | 0.491 | 4.02 | 0.06 | 10.9562 | 7.514 | 18.038 | 3.34 | - | 0.49 | *1 | -
| 2015-08-26 | 30.7 | 7.42 | 18.76 | 1.7404 | 0.606 | 0.029 | 2.729 | 0.095 | 7.632 | 11.801 | 23.796 | 2.057 | - | - | *1 | -
| 2015-11-04 | 26.9 | 7.93 | 19.19 | 1.7347 | 1.293 | 0.42 | 3.397 | 0.016 | 14.457 | 8.2 | 23.737 | 1.987 | - | - | *1 | -
| mean*2 | 28.8 | 7.6499 | 19.475 | 2.104 | 0.85325 | 0.6695 | 3.2612 | 0.11525 | 10.7698 | 8.4593 | 21.0377 | 3.9058 | - | 0.4695 | *1 | -
Ambulalakaw Lake | 2015-03-18 | - | 5.96 | 0.514 | 0.025 | 0.2684 | 0.0758 | 0.1857 | 0.0607 | 0.485 | 0.1149 | 0.5812 | 0.1153 | - | - | - | -
| 2015-06-16 | - | 5.92 | 0.598 | 0.04 | 0.1709 | 0 | 0.2489 | 0.0172 | 0.3734 | 0.2101 | 0.6133 | 0.1538 | - | - | - | -
| 2015-09-29 | - | 5.77 | 0.47 | 0.04 | 0.1529 | 1.159 | 0.2019 | 0.0994 | 0.5238 | 0.1558 | 0.1721 | 0.4987 | - | - | - | -
| 2015-11-18 | - | 5.83 | 0.416 | 0.02 | 0.2615 | 0.2105 | 0.2592 | 0.0172 | 0.5486 | 0.088 | 0.1134 | 0.472 | - | - | - | -
| mean*2 | - | 5.8636 | 0.4995 | 0.03125 | 0.21343 | 0.36133 | 0.22392 | 0.048625 | 0.4827 | 0.1422 | 0.37 | 0.30995 | - | - | - | -
note
- : Items were not analyzed.
*1: The item was not detected.
*2: Mean of pH takes an average of hydrogen ion.
|  | Anion | Cation | R1 | Judge |  | Λcalc | R2 | Judge
Pandin Lake | 2015-02-25 | 2647.9476 | 2218.9354 | -8.8149 | × |  | 24.8276 | 8.589 | Օ
| 2015-05-13 | 2585.1955 | 1846.8479 | -16.6593 | × |  | 22.6836 | 8.7066 | Օ
| 2015-08-26 | 1830.4356 | 1995.6767 | 4.3188 | Օ |  | 20.3603 | 4.0907 | Օ
| 2015-11-04 | 1864.2214 | 2187.3416 | 7.9752 | Օ |  | 21.3674 | 5.3686 | Օ
Ambulalakaw Lake | 2015-03-18 | 37.0489 | 66.9799 | 28.7718 | × |  | 0.619 | 9.2674 | Օ
| 2015-06-16 | 50.5793 | 67.0228 | 13.9822 | × |  | 0.68038 | 6.444 | Օ
| 2015-09-29 | 67.5693 | 83.576 | 10.5903 | × |  | 0.89383 | 31.0763 | ×
| 2015-11-18 | 36.1508 | 73.0202 | 33.7721 | × |  | 0.64817 | 21.8169 | ×
note
# Concerning "×" judging, it was not able to specify the main reasons.

## (10)Rus-2015
Table 6.4(10) Result of Inland Aquatic Environment Monitoring
Duration: | 2015.2.-2015.11.
Country: | Russian Federation
Lake/Stream: | (See below)
|  | Mandatory Parameters: 4 times/year | [11 empty] | Mandatory Parameters: Once/year |  |  |  |  | Optional Parameters
Site | Sampling | Temp. | pH | EC | Alkalinity | SO42- | NO3- | Cl- | NH4+ | Na+ | K+ | Ca2+ | Mg2+ | Transparency | Water color | PO43- | NO2- | COD | Fe | TP | O2 | Si
| Date | (oC) |  | (mS/m) | (meq/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (m) |  | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L)
Pereemnaya River | 2015-02-16 | 0.18333 | 6.7416 | 4.94 | 0.1425 | 12.2983 | 0.89 | 0.25833 | 0.02 | 1.2383 | 0.73 | 5.33 | 0.815 | 1.5 | colorless | 0.012167 | 0.003 | 0.29 | - | 0.05 | 12.9067 | 2.575
| 2015-05-13 | 6.5 | 6.4094 | 3.2117 | 0.11333 | 6.8833 | 0.18333 | 0.22333 | 0.0038333 | 0.76167 | 0.52 | 3.54 | 0.54 | 2 | colorless | 0.001 | 0.003 | 1.09 | - | 0.01 | 11.605 | 2.0583
| 2015-07-08 | 14.5 | 6.8764 | 4.545 | 0.12433 | 11.6317 | 0.39333 | 0.155 | 0.018333 | 1.03 | 0.73 | 4.6917 | 0.86 | 2 | colorless | 0.0028333 | 0.0023333 | 0.69 | - | 0.0036667 | 9.83 | 2.625
| 2015-10-04 | 6.1 | 6.6159 | 4.4633 | 0.11533 | 11.0583 | 0.46333 | 0.18167 | 0.002 | 1.02 | 0.64 | 4.7033 | 0.805 | 2 | colorless | 0.009 | 0.0025 | 1.285 | - | 0.0035 | 12.315 | 2.915
| mean*1 | 6.8208 | 6.6262 | 4.29 | 0.12387 | 10.4679 | 0.4825 | 0.20458 | 0.011042 | 1.0125 | 0.655 | 4.5663 | 0.755 | 1.875 | - | 0.00625 | 0.0027083 | 0.83875 | - | 0.016792 | 11.6642 | 2.5433
Komarovka River | 2015-02-09 | 0.1 | 7.0066 | 8.675 | 0.35033 | 14.8333 | 1.985 | 2.8167 | 0.03 | 3.2667 | 0.3 | 8.2333 | 2.3333 | - | colorless | 0.005 | 0.02 | 1.5833 | 0.215 | - | 12.6167 | 5.9
| 2015-04-21 | 4.15 | 6.6633 | 8.2417 | 0.3205 | 12.55 | 1.3117 | 2.5333 | 0.03 | 3.0167 | 0.5 | 6.7167 | 2.55 | - | colorless | 0.007 | 0.048 | 5.1667 | 0.51 | - | 13.2 | 5.1167
| 2015-06-23 | 18.7833 | 7.0597 | 8.75 | 0.43033 | 13.15 | 2.1417 | 2.8167 | 0.21167 | 3.6 | 0.8 | 8.7333 | 2.15 | - | colorless | 0.005 | 0.023167 | 4.8167 | 0.16833 | - | 11.1667 | 6.8
| 2015-09-22 | 17.5167 | 7.2532 | 9.1717 | 0.42 | 14.2 | 0.445 | 3.9 | 0.28 | 3.1833 | 0.6 | 10.2 | 2.2 | - | colorless | 0.005 | 0.03 | 4.4167 | 0.22 | - | 9.5 | 7.5
| 2015-11-17 | 1.5167 | 7.2016 | 8.9167 | 0.50083 | 12.55 | 0.48333 | 3.2167 | 0.05 | 4.1833 | 0.7 | 9.7667 | 1.75 | - | colorless | 0.005 | 0.007 | 5.8 | 0.34 | - | 14.1167 | 6.6333
| mean*1 | 8.4133 | 6.9817 | 8.751 | 0.4044 | 13.4567 | 1.2733 | 3.0567 | 0.12033 | 3.45 | 0.58 | 8.73 | 2.1967 | - | - | 0.0054 | 0.025633 | 4.3567 | 0.29067 | - | 12.12 | 6.39
note
- : Items were not analyzed.
*1: Mean of pH takes an average of hydrogen ion.
|  | Anion | Cation | R1 | Judge |  | Λcalc | R2 | Judge
Pereemnaya River | 2015-02-16 | 420.6445 | 406.8151 | -1.6713 | Օ |  | 5.2132 | 2.6908 | Օ
| 2015-05-13 | 265.9998 | 268.0862 | 0.39065 | Օ |  | 3.2927 | 1.2457 | Օ
| 2015-07-08 | 377.364 | 369.4601 | -1.0583 | Օ |  | 4.7211 | 1.901 | Օ
| 2015-10-04 | 358.5065 | 361.9864 | 0.48299 | Օ |  | 4.5582 | 1.0518 | Օ
Komarovka River | 2015-02-09 | 771.2263 | 754.2558 | -1.1125 | Օ |  | 9.1325 | 2.5693 | Օ
| 2015-04-21 | 675.674 | 690.7513 | 1.1034 | Օ |  | 8.1153 | -0.77259 | Օ
| 2015-06-23 | 818.7741 | 801.4748 | -1.0677 | Օ |  | 9.5358 | 4.2973 | Օ
| 2015-09-22 | 833.6489 | 859.2912 | 1.5147 | Օ |  | 10.0612 | 4.6252 | Օ
| 2015-11-17 | 860.971 | 833.9736 | -1.5928 | Օ |  | 9.8166 | 4.8038 | Օ

## (11)Thai-2015
Table 6.4(11) Result of Inland Aquatic Environment Monitoring
Duration: | 2015.2.-2015.11.
Country: | Thailand
Lake/Stream: | Vachiralongkorn Dam
|  | Mandatory Parameters : 4 times/year | [11 empty] | Mandatory Parameters : Once/year
Site | Sampling | Temp. | pH | EC | Alkalinity | SO42- | NO3- | Cl- | NH4+ | Na+ | K+ | Ca2+ | Mg2+ | Transparency | Water color | PO43- | NO2- | COD
| Date | (oC) |  | (mS/m) | (meq/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (m) |  | (mg/L) | (mg/L) | (mg/L)
Station1 | 2015-02-19 | 27.5 | 7.3 | 5.4 | 1.065 | 1.23 | 0.1 | 0.83 | 0.01 | 1.245 | 0.9 | 15.5 | 2.855 | 3 | - | 0.01 | - | -
(Ban Pong Chang) | 2015-05-07 | 32.3 | 7.5 | 5.4 | 1.075 | 1.9 | 0.1 | 1.15 | - | 0.895 | 0.635 | 14.5 | 2.98 | 3 | - | 0.01 | - | -
| 2015-07-09 | 29.5 | 7.5 | 5.2 | 1.04 | 1.355 | 0.12 | 0.865 | 0.105 | 1.265 | 0.995 | 16.6 | 3.09 | 2.5 | - | 0.01 | - | -
| 2015-11-26 | 30.8 | 7.9 | 5.33 | 1.085 | 1.28 | 0.11 | 0.855 | 0.01 | 1.33 | 0.92 | 16.5 | 3.48 | 3.5 | - | 0.01 | - | -
| mean*1 | 30.025 | 7.5018 | 5.3325 | 1.0663 | 1.4412 | 0.1075 | 0.925 | 0.041667 | 1.1838 | 0.8625 | 15.775 | 3.1013 | 3 | - | 0.01 | - | -
Station2 | 2015-02-19 | 26.7 | 7.5 | 7 | 1.075 | 1.235 | 0.1 | 1.315 | 0.01 | 1.675 | 0.945 | 16.4 | 2.58 | 3.5 | - | 0.01 | - | -
(Ban Pang Pueng) | 2015-05-07 | 31 | 8.3 | 7 | 1.1 | 1.7 | 0.1 | 1.15 | - | 1.445 | 0.735 | 14.8 | 2.6 | 3 | - | 0.01 | - | -
| 2015-07-09 | 28.9 | 8.1 | 6.5 | 1.04 | 1.6 | 0.1 | 0.885 | 0.015 | 1.205 | 0.91 | 17.25 | 2.75 | 3 | - | 0.01 | - | -
| 2015-11-26 | 30.6 | 8 | 6.92 | 1.09 | 1.1 | 0.1 | 0.67 | 0.01 | 1.265 | 0.87 | 16.8 | 2.965 | 4 | - | 0.01 | - | -
| mean*1 | 29.3 | 7.865 | 6.855 | 1.0763 | 1.4087 | 0.1 | 1.005 | 0.011667 | 1.3975 | 0.865 | 16.3125 | 2.7237 | 3.375 | - | 0.01 | - | -
note
- : Items were not analyzed.
*1: Mean of pH takes an average of hydrogen ion.
| Date | Anion | Cation | R1 | Judge |  | Λcalc | R2 | Judge
Station1 | 2014-02-27 | 1115.9508 | 1086.0156 | -1.3595 | Օ |  | 11.4595 | 35.941 | ×
(Ban Pong Chang) | 2014-05-27 | 1148.9272 | 1023.8207 | -5.758 | Օ |  | 11.31 | 35.3681 | ×
| 2014-07-30 | 1094.8631 | 1168.7787 | 3.2653 | Օ |  | 11.8704 | 39.0758 | ×
| 2014-11-05 | 1137.8583 | 1191.4851 | 2.3022 | Օ |  | 12.1566 | 39.0392 | ×
Station2 | 2014-02-27 | 1139.7361 | 1128.1468 | -0.51102 | Օ |  | 11.8587 | 25.7638 | ×
(Ban Pang Pueng) | 2014-05-27 | 1169.7631 | 1033.9951 | -6.1607 | Օ |  | 11.4486 | 24.1136 | ×
| 2014-07-30 | 1100.2058 | 1163.4569 | 2.7942 | Օ |  | 11.8916 | 29.3155 | ×
| 2014-11-05 | 1133.7307 | 1159.9945 | 1.145 | Օ |  | 11.9481 | 26.6486 | ×

## (12)Viet-2015
Table 6.4(12) Result of Inland Aquatic Environment Monitoring
Duration: | 2015.3.-2015.12.
Country: | Vietnam
Lake/Stream: | Hoa Binh Reservoir
|  | Mandatory Parameters: 4 times/year | [11 empty] | Mandatory Parameters: Once/year
Site | Sampling | Temp. | pH | EC | Alkalinity | SO42- | NO3- | Cl- | NH4+ | Na+ | K+ | Ca2+ | Mg2+ | Transparency | Water Color | PO43- | NO2- | COD
| Date | (oC) |  | (mS/m) | (meq/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (m) | (PtCo unit) | (mg/L) | (mg/L) | (mg/L)
Hoa Binh Reservoir | 2015-03-15 | 23.2 | 7.52 | 16.5 | 1.34 | 7.04 | 1.91 | 0.94 | 0.01 | 2.77 | 1.16 | 22.76 | 3.27 | 1.2 | - | 0.034 | 0.009 | 3.6
| 2015-06-15 | 29.3 | 7.95 | 18.74 | 1.44 | 7.53 | 0.87 | 0.98 | 0.01 | 3.78 | 1.02 | 24.43 | 3.91 | 1.2 | - | 0.031 | 0.008 | 3
| 2015-09-15 | 30.2 | 7.78 | 20.2 | 1.58 | 7.49 | 0.71 | 1.05 | 0.02 | 3.38 | 1.01 | 27.27 | 4.5 | 1.2 | - | 0.083 | 0.007 | 3.9
| 2015-12-15 | 25.5 | 7.37 | 16.32 | 1.36 | 5.99 | 2.39 | 0.83 | 0.02 | 1.8 | 1.05 | 23.21 | 2.91 | 1.2 | 3 | 0.031 | 0.01 | 3.3
| mean*1 | 27.05 | 7.5991 | 17.94 | 1.43 | 7.0125 | 1.47 | 0.95 | 0.015 | 2.9325 | 1.06 | 24.4175 | 3.6475 | 1.2 | - | 0.04475 | 0.0085 | 3.45
note
- : Items were not analyzed.
*1 : Mean of pH takes an average of hydrogen ion.
# PO43- was survayed four times a year in this attempt. It was survayed once a year until last attempt.
|  | Anion | Cation | R1 | Judge |  | Λcalc | R2 | Judge
Hoa Binh Reservoir | 2015-03-15 | 1545.1623 | 1555.3822 | 0.32962 | Օ |  | 16.6188 | 0.3586 | Օ
| 2015-06-15 | 1639.6046 | 1731.6797 | 2.7312 | Օ |  | 18.0052 | -1.9996 | Օ
| 2015-09-15 | 1779.7869 | 1904.8211 | 3.3934 | Օ |  | 19.6507 | -1.3785 | Օ
| 2015-12-15 | 1547.8656 | 1503.7933 | -1.4442 | Օ |  | 16.313 | -0.021516 | Օ

## Summary-2015
Table 6.4 (13) Summary of Inland Aquatic Environment Monitoring
|  |  | Mandatory Parameters : 4 times/year | [10 empty] | Mandatory Parameters : Once/year
Country | Location | Site | pH | EC | Alkalinity | SO42- | NO3- | Cl- | NH4+ | Na+ | K+ | Ca2+ | Mg2+ | Transparency | PO43- | NO2- | DOC | COD
|  |  |  | (mS/m) | (meq/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (m) | (mg/L) | (mg/L) | (mg/L) | (mg/L)
Cambodia | Kampong Speu province | Sras Srang Lake*2 | 5.813 | 0.9825 | 0.04 | 0.0895 | 0.217 | 1.1655 | 0.07125 | 0.803 | 0.194 | 0.372 | 0.2195 | 0.7775 | - | - | - | -
China | Chongqing | Jinyunshan Lake | 6.4779 | 11.35 | 0.14475 | 29.41 | 10.09 | 2.2425 | 0.24875 | 2.245 | 2.0075 | 11.6175 | 3.4575 | 0.89 | *1 | *1 | - | <10*1
| Xiamen | Xiaoping Dam | 7.0081 | 6.0125 | 0.179 | 3.9875 | 3.1725 | 3.425 | 0.0525 | 3.645 | 2.635 | 3.6067 | 0.66 | 0.725 | 0.045 | 0.014 | - | 1.23
| Xi'an | Jiwozi River | 7.0933 | 7.27 | 0.2625 | 11.3215 | 6.4467 | 1.55 | *1 | 4.1202 | 0.95475 | 9.191 | 1.2808 | - | <0.01*1 | <0.003*1 | - | 3
| Zhuhai | Zhuxiandong Stream | 6.3753 | 6.73 | 0.496 | 2.4725 | 1.31 | 2.495 | 0.44 | 7.4775 | 1.84 | 2.8375 | 1.1425 | - | - | - | - | -
Indonesia | Bandung | Patengang Lake*3 | 7.7533 | 7.032 | 0.3748 | 9.96 | 0.122 | 2.06 | 0.064 | 3.12 | 1.5 | 5.74 | 2.22 | - | - | - | - | -
| Sukabumi, West Java | Gunung Lake | 7.3298 | 4.91 | 0.274 | 6.74 | 0.054 | 1.96 | 0.034 | 1.74 | 0.486 | 4.46 | 2 | - | - | - | - | -
Japan | Gifu pref. | Ijira Lake (Center, surface)*4 | 7.1574 | 3.565 | 0.14883 | 4.3767 | 1.06 | 1.8667 | <0.01*1 | 1.7883 | 0.26667 | 2.1167 | 1.0533 | 2.24 | <0.1*1 | <0.01*1 | 0.55 | -
| Shimane pref. | Banryu Lake (Center, surface) | 6.9086 | 10.3038 | 0.16263 | 4.6188 | <0.08*1 | 23.9788 | <0.05*1 | 14.25 | 1.78 | 1.7512 | 1.9 | 3.45 | <0.003*1 | <0.01*1 | 2.2 | -
Lao PDR | Vientiane province | Nam Hum Lake | 7.0321 | 3.675 | 0.4525 | 3.0225 | 0.025 | 0.7725 | 0.01225 | 0.8 | 0.43 | 1.34 | 2.275 | 0.625 | 0.01 | - | - | 22.7125
Malaysia | Selangor | Semenyih Dam*2 | 6.9928 | 3.2017 | 0.24333 | 1.319 | 0.14483 | 1.6075 | 0.034167 | 3.6982 | 1.6 | 2.2117 | 0.63783 | - | <0.10*1 | - | - | 7.6224
| Sabah | Tembaling river | 8.0239 | 23.3727 | 2.2104 | 11.3276 | 0.54144 | 2.3276 | 0.033625 | 9.3711 | 0.641 | 24.0263 | 12.0591 | - | <0.10*1 | - | - | 4.8375
Mongolia | Terelj | Terelj River*5 | 7.2274 | 5.3683 | 0.35017 | 4.425 | 0.82333 | 0.375 | - | - | - | - | - | - | - | - | - | -
Philippines | San Pablo City | Pandin Lake | 7.6499 | 19.475 | 2.104 | 0.85325 | 0.6695 | 3.2612 | 0.11525 | 10.7698 | 8.4593 | 21.0377 | 3.9058 | - | 0.4695 | *1 | - | -
| Benguet | Ambulalakaw Lake | 5.8636 | 0.4995 | 0.03125 | 0.21343 | 0.36133 | 0.22392 | 0.048625 | 0.4827 | 0.1422 | 0.37 | 0.30995 | - | - | - | - | -
Russia | Southern Baikal | Pereemnaya River | 6.6262 | 4.29 | 0.12387 | 10.4679 | 0.4825 | 0.20458 | 0.011042 | 1.0125 | 0.655 | 4.5663 | 0.755 | 1.875 | 0.00625 | 0.0027083 | - | 0.83875
| Primorskaya | Komarovka River*3 | 6.9817 | 8.751 | 0.4044 | 13.4567 | 1.2733 | 3.0567 | 0.12033 | 3.45 | 0.58 | 8.73 | 2.1967 | - | 0.0054 | 0.025633 | - | 4.3567
Thailand | Kanchanaburi Province | Vachiralongkorn Dam (Ban Pong Chang) | 7.5018 | 5.3325 | 1.0663 | 1.4412 | 0.1075 | 0.925 | 0.041667 | 1.1838 | 0.8625 | 15.775 | 3.1013 | 3 | 0.01 | - | - | -
|  | Vachiralongkorn Dam (Ban Pang Pueng) | 7.865 | 6.855 | 1.0763 | 1.4087 | 0.1 | 1.005 | 0.011667 | 1.3975 | 0.865 | 16.3125 | 2.7237 | 3.375 | 0.01 | - | - | -
Vietnam | Hoa Binh Province | Hoa Binh Reservoir | 7.5991 | 17.94 | 1.43 | 7.0125 | 1.47 | 0.95 | 0.015 | 2.9325 | 1.06 | 24.4175 | 3.6475 | 1.2 | 0.04475 | 0.0085 | - | 3.45
note
- : Items were not analyzed.
*1: Less than determination/detection limit.
*2: Surveyed twice a year.
*3: Surveyed five times a year.
*4: Surveyed three times a year.
*5: Surveyed six times a year.
-と*1の誤謬に注意